## Slide 1
MEDICAL IMAGE
SEGMENTATION
WITH
Deependra Dewagiri - 200119C

## Slide 2
What is image segmentation?
  Simplifying an image to meaningful pixel groups.
  Partitioning an image into parts for deriving meaning or further analysis based on some homogenous visual characteristics
Source : EN3160 - Image Processing and Machine Vision,Dr.Ranga Rodrigo

## Slide 3
Image segmentation techniques
  Thresholding
  Edge-Based Segmentation
  Region-Based Segmentation
  Clustering-Based Segmentation
  Machine Learning / Deep Learning - Based Segmentation

## Slide 4
Region-Based Segmentation
  Region Growing
  Watershed Algorithm

## Slide 5
Region Growing

## Slide 6
Region Growing
Starts with a seed point and grows the region by adding neighboring pixels that satisfy a inclusion criteria.
https://sbme-tutorials.github.io/2019/cv/notes/6_week6.html

## Slide 7
Region Growing
Starts with a seed point and grows the region by adding neighboring pixels that satisfy a inclusion criteria.
https://sbme-tutorials.github.io/2019/cv/notes/6_week6.html

## Slide 8
Region Growing
Starts with a seed point and grows the region by adding neighboring pixels that satisfy a inclusion criteria.
https://sbme-tutorials.github.io/2019/cv/notes/6_week6.html

## Slide 9
Region Growing
  Connected Threshold
  Otsu Segmentation
  Neighborhood Connected
  Confidence Connected
  Isolated Connected
  Vector Confidence Connected

## Slide 10
Region Growing : Connected Threshold
  Input Preparation: CurvatureFlowImageFilter to reduce noise while preserving edges
  Threshold Setting: Lower and upper intensity thresholds.
  Region Growing: All connected pixels within the threshold range, starting from the seed point.
  Binary Output: A binary image

## Slide 11
original image
Region Growing : Connected Threshold
original image
smoothed image
segmented image 1
segmented image 2
segmented image 3

## Slide 12
Region Growing : Otsu Segmentation
  Histogram Generation: Determines the distribution of pixel intensities in the image.
  Otsu's Method: Otsu's method to determine the optimal threshold values that maximize inter-class variance.
  Binary Thresholding: Thresholding is applied to segment the image into different regions based on these thresholds.

## Slide 13
Region Growing : Otsu Segmentation

## Slide 14
Region Growing : Neighborhood Connected
  Edge-Preserving Smoothing: Smoothing the image while preserving important edges
  Neighborhood Radius: Size of the region around each pixel that will be evaluated
  Segmentation Process: reduces the chances of including small, isolated structures.

## Slide 15
original image
Region Growing : Neighborhood Connected
original image
smoothed image
segmented image 1
segmented image 2
segmented image 3

## Slide 16
  Edge-Preserving Smoothing: Smoothing the image while preserving important edges
  Statistical Criterion: Compute the mean and standard deviation of the intensity values for all the pixels included in the region
  Parameters:
Multiplier (f): Controls the size of the intensity range.
Number of Iterations: The number of times the mean and standard deviation are recalculated.
Initial Neighborhood Radius:
Region Growing : Confidence Connected

## Slide 17
original image
Region Growing : Confidence Connected
original image
smoothed image
segmented image 1
segmented image 2
segmented image 3

## Slide 18
  Edge-Preserving Smoothing: Smoothing the image while preserving important edges
  Two Seed Points: One seed (Seed1) is used to grow a region, and the other seed (Seed2) is used to define a region that should not be connected to the first region.
  Binary Search for Upper Threshold
Region Growing : Isolated Connected

## Slide 19
Region Growing : Isolated Connected
original image
smoothed image
segmented image

## Slide 20
  Vector Pixel Data Types: RGB
  Covariance and Mean: Relationships between different components of the pixel vectors
  Mahalanobis Distance : Measure how far a pixel's vector is from the region's mean.
Region Growing : Vector Confidence Connected

## Slide 21
Segmentation Approach:
    Segments an image by iteratively expanding a region starting from an initial seed point.
    mean vector and covariance matrix of the pixel values within the region.
    A pixel is included in the region if its Mahalanobis distance from the region's mean is within a user-defined threshold.
Region Growing : Vector Confidence Connected

## Slide 22
Region Growing : Vector Confidence Connected
original image
segmented image 1
segmented image 2

## Slide 23
Watershed Segmentation

## Slide 24
Watershed Segmentation : Key Concepts
Intensity profile of input image
Topographic Surface Interpretation:
The image is seen as a landscape, where higher intensity values correspond to peaks and lower values to valleys.
original image

## Slide 25
Watershed Segmentation : Key Concepts
Intensity profile of image
Catchment Basins:
Each local minimum in the image creates a basin, and pixels are classified based on which basin they belong to
Basins

## Slide 26
Watershed Segmentation : Intuition
Intensity profile
of input image

## Slide 27
Watershed Segmentation : Intuition
Intensity profile
of input image
Intensity profile
of filtered image

## Slide 28
Watershed Segmentation : Intuition
Intensity profile
of input image
Intensity profile
of filtered image
Segmented Image

## Slide 29
Watershed Segmentation : Key Points
  Gradient-Based Segmentation: Uses the gradient magnitude of the image
  Preprocessing with Filters: Edge-preserving smoothing filters(anisotropic diffusion or bilateral filters)
  Threshold and Level Parameters:
    The threshold parameter controls the minimum height difference between the local minima and their boundaries, merging shallow basins into larger regions.
    The level parameter determines the watershed depth, influencing how the regions are defined.

## Slide 30
Watershed Segmentation : Outline
Source : ITK Documentation
Notes: Height Image: This is the input image, where pixel intensities are interpreted as heights in a topographic surface. It serves as the primary data object that represents the landscape to be segmented.
Segmenter: This process object performs the basic segmentation. It takes the height image and analyzes the landscape to identify catchment basins (local minima) and regions, where pixels "flow" towards the same minimum. It is the initial step in creating the segmentation.
Threshold: This parameter controls which regions are retained during segmentation. A higher threshold eliminates smaller, less significant regions to prevent over-segmentation.
Maximum Flood Level: defines the maximum depth for which the algorithm should continue merging regions.
helps manage how deep the catchment basins should be before being merged with adjacent basins.
Basic Segmentation: This data object represents the initial segmentation output by the segmenter. It contains many small, over-segmented regions.
Tree Generator: This process object generates a hierarchical structure (or merge tree) from the segmented regions. It identifies the relationships between smaller basins and larger ones.
Merge Tree: This is a data object that organizes the segmented regions into a hierarchy, where larger regions contain smaller ones. It helps control the merging process.
Image Relabeler: This process object takes the basic segmentation and uses the merge tree to combine regions based on the specified parameters (threshold and maximum flood level). It re-labels the segments to produce a more meaningful, less over-segmented output.
Output Flood Level: This parameter indicates the current level of flooding during the watershed process and allows for adjustments to be made at different levels of hierarchy.
Labeled Image: This is the final output, which is a segmented image where each region is labeled with a unique identifier. This image is typically used for further analysis or visualization.

## Slide 31
Watershed Segmentation
original image
segmented image

## Slide 32
THANK
YOU